FULL TECHNICAL BLUEPRINT

BlockSense

Your block, before it breaks.

Smart community OS for gated residential societies — 6 utilities, AI-powered prediction,

automated response, and self-learning disruption prevention.

| Smart Community | AI-First | India Market | Bangalore First |
| --- | --- | --- | --- |

| Next.js + Supabase | MSG91 WhatsApp | IoT Relay Control | 30-Day MVP |
| --- | --- | --- | --- |

Contents

01   System Architecture — 5-Layer Platform Overview

02   Tech Stack — Full Decision Log

03   Database Schema — All 16 Tables

04   Utility Module Specifications — 6 Utilities in Full

05   Automation Engine — Per-Utility Flow Diagrams

06   Prediction Engine — Rule-Based v1 + ML v2

07   API Design — All Endpoints with Request/Response

08   UI/UX Design System — Screens, Tokens, Components

09   Notification System — MSG91 Templates + Routing

10   IoT Integration — Sensors, Relays, Hardware

11   30-Day Development Roadmap — Day by Day

12   Phase 2 & 3 Roadmap — Intelligence + Scale

SECTION 01

System Architecture

Five-layer platform — data in, intelligence out, disruption prevented

Platform overview

BlockSense operates as a 5-layer platform. Each layer consumes the output of the one above it. The architecture is designed for a single-developer MVP using managed cloud services, with a clear upgrade path to microservices at scale.

LAYER 1 — INGEST Manual entry (MVP) → IoT sensors (Phase 2). Water tank levels, power meter readings, gas consumption, sewage tank status, solid waste volumes, garbage collection confirmations. Stored raw in Supabase PostgreSQL with timestamptz.

LAYER 2 — ENRICH External context appended to raw readings. OpenWeatherMap API (rain, heat), BWSSB/BESCOM/BBMP schedule scraping, festival calendar (public holidays), historical community data. Enrichment runs on every read as a server-side JOIN.

LAYER 3 — PREDICT Prediction engine processes enriched data every 15 minutes via Supabase Edge Function cron. v1: rule-based linear projection. v2: Prophet time-series (after 90 days of data). Outputs: risk score, predicted event date, recommended action.

LAYER 4 — ALERT Alert classifier applies severity thresholds to prediction output. Three tiers: Predictive (48-72h warning), Anomaly (real-time spike/fault), Threshold Breach (critical, act now). Stored in alerts table with full metadata JSON.

LAYER 5 — RESPOND Automated response triggered by alert severity. WhatsApp/SMS via MSG91, equipment relay commands via IoT gateway, vendor auto-order via WhatsApp API, dashboard realtime push via Supabase Realtime. Every response outcome logged to prediction_log for model retraining.

Data flow — end to end

| Step | Component | Technology | Latency |
| --- | --- | --- | --- |
| 1 | Sensor/manual reading arrives | Supabase REST API | < 50ms |
| 2 | Raw reading stored | PostgreSQL (Supabase) | < 10ms |
| 3 | Realtime broadcast to dashboard | Supabase Realtime (ws) | < 100ms |
| 4 | Enrichment context fetched | Server JOIN + Redis cache | < 20ms |
| 5 | Prediction engine evaluates | Edge Function cron (15 min) | < 2s |
| 6 | Alert generated if threshold crossed | Alert engine (Node.js) | < 100ms |
| 7 | Notification dispatched | MSG91 WhatsApp API | < 3s |
| 8 | Outcome logged for retraining | prediction_log table | < 10ms |

Architecture decisions

| MONOREPO FIRST Next.js full-stack Frontend, API routes, and scheduled jobs all in one Next.js repo. No separate Express server, no microservices overhead. One deploy, one environment, one developer. |  | MANAGED INFRA Supabase over raw Postgres Auth, Row Level Security, Realtime subscriptions, and Edge Functions out of the box. Saves 2 weeks of backend boilerplate. Upgrade path to self-hosted Postgres is clear when needed. |
| --- | --- | --- |
| RULE-BASED FIRST No ML on day one Prediction v1 ships as rule-based linear projection. Accurate enough for MVP, fully explainable to RWA committees. ML (Prophet) activates after 90 days of data collection. |  | WHATSAPP NATIVE MSG91 for all alerts Indian RWA committees live on WhatsApp. Every critical alert goes there first, falls back to SMS. Email is only for monthly reports. Alert delivery rate > 98%. |

SECTION 02

Tech Stack

Every decision justified — optimised for solo developer, 30-day deadline

Full stack

| Layer | Technology | Version | Why this choice |
| --- | --- | --- | --- |
| Framework | Next.js (App Router) | 14.x | Full-stack in one repo — pages, API routes, middleware, server actions |
| Language | TypeScript | 5.x | End-to-end type safety from DB schema to UI — fewer runtime bugs |
| Styling | Tailwind CSS | 3.x | Utility-first — no context switching to CSS files, 3x faster UI build |
| Components | shadcn/ui | latest | Pre-built accessible components: tables, forms, charts, modals |
| Charts | Recharts | 2.x | React-native, handles time-series and gauge charts, no canvas hacks |
| Forms | React Hook Form + Zod | latest | Type-safe form validation, works perfectly with TypeScript schemas |
| Database | Supabase (PostgreSQL) | 15.x | DB + Auth + Realtime + Edge Functions — entire backend in one platform |
| ORM | Supabase JS Client | 2.x | Type-safe DB queries auto-generated from schema, no raw SQL in app code |
| Auth | Supabase Auth | built-in | Email OTP + phone OTP. JWT tokens, RLS enforcement at DB layer |
| Realtime | Supabase Realtime | built-in | WebSocket subscriptions — dashboard updates without polling |
| Notifications | MSG91 | v2 API | Best Indian WhatsApp + SMS provider. Template approval in 24-48h |
| Scheduled jobs | Supabase Edge Functions | built-in | Deno-based serverless — prediction engine runs every 15 min via cron |
| Hosting | Vercel | latest | Zero-config Next.js deploy, auto CI/CD from GitHub, edge network |
| Weather | OpenWeatherMap API | v3 | Free tier: 1000 calls/day — more than enough for prediction enrichment |
| PDF export | jsPDF + html2canvas | latest | Client-side PDF generation for monthly reports — no server dependency |

Infrastructure stack

| Service | Provider | Tier | Cost (MVP) |
| --- | --- | --- | --- |
| PostgreSQL database | Supabase | Free (500MB) | ₹0/month |
| Auth + Realtime | Supabase | Free (50K MAU) | ₹0/month |
| Edge Functions / cron | Supabase | Free (500K calls) | ₹0/month |
| Frontend + API hosting | Vercel | Free (hobby) | ₹0/month |
| WhatsApp + SMS alerts | MSG91 | Pay per message | ₹~500/month (est.) |
| Weather API | OpenWeatherMap | Free (1K/day) | ₹0/month |
| Domain | Custom registrar | app.blocksense.in | ₹~800/year |

Total infrastructure cost for MVP: ~₹500/month. BlockSense can run for 12 months on ₹6,000 before charging a single society.

Folder structure

| Path | Contents |
| --- | --- |
| app/(auth)/ | Login, OTP verify, onboarding wizard |
| app/(dashboard)/layout | Sidebar + header shell, role-based nav |
| app/(dashboard)/page | Main overview dashboard |
| app/(dashboard)/water/ | Overview, tanks, readings, tanker orders |
| app/(dashboard)/power/ | Overview, DG management, outage log, solar |
| app/(dashboard)/gas/ | Overview, meter readings, pressure log |
| app/(dashboard)/sewage/ | Overview, STP status, desludge log |
| app/(dashboard)/waste/ | Overview, segregation tracker, vendor log |
| app/(dashboard)/garbage/ | Schedule, collection log, missed alerts |
| app/(dashboard)/staff/ | Directory, attendance, tasks, on-duty board |
| app/(dashboard)/alerts/ | Active alerts, history, resolution workflow |
| app/(dashboard)/reports/ | Monthly summary, PDF export |
| app/(dashboard)/settings/ | Society, users, vendors, thresholds, notifications |
| app/api/v1/ | All REST API route handlers |
| components/ui/ | shadcn/ui primitives |
| components/charts/ | TankGauge, DieselGauge, ConsumptionChart |
| components/water/ | TankCard, TankerOrderForm, WaterPredictionCard |
| components/power/ | DGStatusCard, OutageLogger, SolarCard |
| lib/supabase/ | Browser client + server client |
| lib/predictions/ | water.ts, power.ts, gas.ts, sewage.ts, waste.ts, garbage.ts |
| lib/notifications.ts | MSG91 WhatsApp + SMS dispatch |
| lib/alertEngine.ts | Threshold checks, alert creation, auto-actions |
| lib/automations/ | Per-utility automation trigger handlers |
| hooks/ | useWaterData, usePowerData, useAlerts, useRealtime |
| types/index.ts | All TypeScript interfaces mirroring DB schema |
| middleware.ts | Auth guard + role-based route protection |
| supabase/migrations/ | All SQL migration files — source of truth for schema |

SECTION 03

Database Schema

PostgreSQL on Supabase — 16 tables, Row Level Security on all

Core tables

societies

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK · gen_random_uuid() |
| name | text | NOT NULL |
| address | text |  |
| city | text | DEFAULT 'Bangalore' |
| total_flats | int |  |
| total_blocks | int |  |
| subscription_plan | text | CHECK IN ('basic','pro','enterprise') |
| onboarded_at | timestamptz | SET on first committee login |
| created_at | timestamptz | DEFAULT NOW() |

users

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK · FK → auth.users(id) |
| society_id | uuid | FK → societies(id) · NOT NULL |
| name | text | NOT NULL |
| phone | text | Used for MSG91 dispatch |
| whatsapp | text | May differ from phone |
| role | text | CHECK IN ('admin','committee','staff','resident') |
| flat_number | text |  |
| block | text |  |
| is_active | boolean | DEFAULT TRUE |
| created_at | timestamptz | DEFAULT NOW() |

Water tables

water_readings

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies · RLS enforced |
| source | text | CHECK IN ('cauvery','borewell','tanker','rainwater') |
| reading_type | text | CHECK IN ('inflow','consumption','tank_level') |
| value | numeric | Kiloliters OR percentage (0-100) depending on reading_type |
| unit | text | DEFAULT 'kl' |
| block | text | NULL = whole society |
| recorded_by | uuid | FK → users(id) |
| recorded_at | timestamptz | DEFAULT NOW() |
| notes | text |  |

water_tanks

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| name | text | e.g. 'Overhead Tank A', 'Sump B' |
| type | text | CHECK IN ('overhead','sump','borewell_sump') |
| capacity_kl | numeric | Total capacity in kiloliters |
| current_level_pct | numeric | 0–100 · updated on each reading |
| current_level_kl | numeric | Computed: capacity × level_pct / 100 |
| last_updated | timestamptz | DEFAULT NOW() |

tanker_orders

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| vendor_id | uuid | FK → vendors(id) |
| quantity_kl | numeric | Ordered quantity |
| status | text | CHECK IN ('pending','confirmed','delivered','cancelled') |
| ordered_by | uuid | FK → users · NULL if auto-triggered |
| triggered_by | text | DEFAULT 'manual' — 'auto' if system-triggered |
| scheduled_at | timestamptz | Requested delivery time |
| delivered_at | timestamptz | Filled on delivery confirmation |
| cost | numeric | Total cost in INR |
| created_at | timestamptz | DEFAULT NOW() |

Power tables

power_readings

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| source | text | CHECK IN ('grid','solar','dg') |
| reading_type | text | CHECK IN ('generation','consumption','export') |
| value_kwh | numeric | Units in kWh |
| block | text | NULL = whole society |
| recorded_by | uuid | FK → users |
| recorded_at | timestamptz | DEFAULT NOW() |

dg_units

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| name | text | e.g. 'DG Set 1 (250 kVA)' |
| capacity_kva | numeric | Rated capacity |
| diesel_capacity_liters | numeric | Tank capacity |
| diesel_level_liters | numeric | Current level — updated on refuel/runtime log |
| is_running | boolean | DEFAULT FALSE |
| total_runtime_hours | numeric | Cumulative — incremented on outage log |
| consumption_rate_lph | numeric | Litres per hour — configurable per society |
| last_service_date | date |  |
| last_updated | timestamptz | DEFAULT NOW() |

power_outages

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| dg_unit_id | uuid | FK → dg_units · NULL if grid-only event |
| started_at | timestamptz | NOT NULL |
| ended_at | timestamptz | NULL until restored |
| duration_hrs | numeric | Computed on ended_at update |
| diesel_used_l | numeric | Computed: duration × consumption_rate |
| logged_by | uuid | FK → users |

Gas, sewage, waste, garbage tables

gas_readings

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| meter_reading | numeric | Cumulative SCM reading |
| consumption_scm | numeric | Delta from previous reading |
| pressure_psi | numeric | Pipeline pressure at time of reading |
| recorded_by | uuid | FK → users |
| recorded_at | timestamptz | DEFAULT NOW() |

sewage_readings

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| stp_status | text | CHECK IN ('normal','maintenance','fault','offline') |
| sludge_tank_pct | numeric | 0-100 · triggers desludge alert above 80% |
| treated_tank_pct | numeric | 0-100 · treated water available for reuse |
| inflow_rate_lph | numeric | Litres per hour inflow |
| recorded_by | uuid | FK → users |
| recorded_at | timestamptz | DEFAULT NOW() |

waste_logs

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| block | text | Block or tower identifier |
| dry_waste_kg | numeric |  |
| wet_waste_kg | numeric |  |
| total_kg | numeric | Computed: dry + wet |
| segregation_ok | boolean | Staff-marked compliance |
| logged_by | uuid | FK → users |
| logged_at | timestamptz | DEFAULT NOW() |

garbage_collection_log

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| scheduled_at | timestamptz | Expected collection time from schedule |
| collected_at | timestamptz | NULL if missed |
| status | text | CHECK IN ('collected','missed','rescheduled','pending') |
| vendor_id | uuid | FK → vendors · BBMP or private |
| confirmed_by | uuid | FK → users (staff who confirmed) |
| notes | text | e.g. partial collection, overflow observed |

Operations tables

alerts

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| utility | text | CHECK IN ('water','power','gas','sewage','waste','garbage','general') |
| alert_type | text | CHECK IN ('predictive','anomaly','threshold') |
| severity | text | CHECK IN ('info','warning','critical') |
| title | text | Short alert title — used in WhatsApp message |
| message | text | Full alert description |
| metadata | jsonb | Extra context: predicted_date, confidence_score, recommended_action |
| is_resolved | boolean | DEFAULT FALSE |
| resolved_by | uuid | FK → users |
| resolved_at | timestamptz |  |
| triggered_at | timestamptz | DEFAULT NOW() |

vendors

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| name | text | NOT NULL |
| type | text | CHECK IN ('water_tanker','diesel','gas','desludge','waste_pickup','garbage','electrical','plumbing','other') |
| phone | text |  |
| whatsapp | text | Used for auto-order dispatch |
| rate_per_unit | numeric | Per KL / per litre / per trip depending on type |
| unit | text | e.g. 'kl', 'litre', 'trip' |
| is_preferred | boolean | DEFAULT FALSE · used for auto-order selection |
| rating | numeric | 1-5 · updated on each job completion |

prediction_log

| Column | Type | Constraint / note |
| --- | --- | --- |
| id | uuid | PK |
| society_id | uuid | FK → societies |
| utility | text | Which utility was predicted |
| prediction_type | text | e.g. 'shortage_date', 'runout_hours', 'overflow_risk' |
| predicted_value | numeric | The numeric prediction output |
| predicted_at | timestamptz | When prediction was made |
| event_date | timestamptz | Predicted event time |
| confidence_score | numeric | 0.0–1.0 · higher = more data |
| actual_value | numeric | Filled in after the event — for model accuracy tracking |
| was_accurate | boolean | Filled in after event — within 20% tolerance = TRUE |
| model_version | text | e.g. 'rule_v1', 'prophet_v2' |
| created_at | timestamptz | DEFAULT NOW() |

Row Level Security is enabled on every table. A user can only read and write data belonging to their society_id. No cross-society data leakage is possible at the database query layer.

SECTION 04

Utility Module Specifications

All 6 utility modules — features, data entry, and alert rules

01  Water

Dashboard features & data entry

| Feature | Description | Data source |
| --- | --- | --- |
| Tank level gauges | Visual gauge per tank — % and absolute KL. Colour-coded: green >50%, amber 20-50%, red <20%. | Manual entry (MVP) / Float sensor (Phase 2) |
| Source breakdown | Daily and monthly Cauvery vs borewell vs tanker split as a stacked bar chart. | Manual reading logs |
| 7-day consumption chart | Bar chart with 7-day average line. Spike detection highlighted in amber. | Computed from readings delta |
| Shortage prediction card | Days to critical at current rate + next scheduled supply. Recommended order date. | Prediction engine output |
| Tanker order workflow | One-tap order to preferred vendor. WhatsApp confirmation sent. Status tracked. | tanker_orders table |
| Cauvery schedule log | Log BWSSB supply days and quantity received. Used in prediction model. | Manual + BWSSB scraping |
| Per-block consumption | Compare consumption across blocks. Flag anomaly blocks (possible leakage). | Block-level meter readings |
| Monthly water report | Source-wise supply, total consumption, cost, shortage events, tanker spend. | Aggregated from all tables |

Alert rules

| Trigger condition | Alert type | Severity | Auto action |
| --- | --- | --- | --- |
| Tank level < 40% AND no supply in next 48h | Predictive | Warning | Notify committee via WhatsApp |
| Tank level < 20% | Threshold | Critical | Notify + auto-order preferred tanker vendor |
| Daily consumption > 200% of 7-day average | Anomaly | Warning | Notify committee — possible leak or pipe burst |
| Zero consumption logged for 6+ hours | Anomaly | Warning | Notify maintenance staff — pump failure risk |
| Tanker not delivered within 4h of schedule | Threshold | Warning | Notify committee + log missed delivery |

02  Power

Dashboard features & data entry

| Feature | Description | Data source |
| --- | --- | --- |
| DG diesel gauge | Live diesel level in litres and %. Estimated hours remaining based on avg runtime. | Manual entry / float sensor (Phase 2) |
| Grid outage logger | One-tap outage start. Auto-calculates DG runtime and diesel consumed on end-log. | Manual + smart meter (Phase 2) |
| Solar generation tracker | Daily kWh generated. Monthly savings vs grid rate. Trend over 6 months. | Inverter API / manual entry |
| Per-block metering | Power consumption by block. Identify high-consumption blocks and anomalies. | Sub-meter readings |
| DG runtime heatmap | Calendar view of daily DG runtime. Correlates with BESCOM outage patterns. | Computed from outage logs |
| Diesel runout prediction | Hours remaining at current consumption rate. Accounts for upcoming grid risk. | Prediction engine |
| DG service tracker | Last service date, next due date, alert when overdue. | Manual entry |
| Monthly power cost | Grid vs solar vs DG cost breakdown. Savings from solar quantified. | Aggregated from readings |

Alert rules

| Trigger condition | Alert type | Severity | Auto action |
| --- | --- | --- | --- |
| Diesel level < 30% AND avg daily runtime > 4h | Predictive | Warning | Notify committee — order diesel soon |
| Estimated diesel hours remaining < 24h | Threshold | Warning | Notify committee urgently + WhatsApp vendor |
| Estimated diesel hours remaining < 12h | Threshold | Critical | Notify all committee members + alert staff on duty |
| Grid outage > 6 hours | Anomaly | Warning | Notify committee — assess DG fuel sufficiency |
| Per-block consumption spike > 150% of average | Anomaly | Warning | Notify committee — check for fault or theft |
| DG service overdue by 30+ days | Predictive | Info | Notify committee — schedule service |

03  Gas

Dashboard features & data entry

| Feature | Description | Data source |
| --- | --- | --- |
| Monthly meter reading | SCM reading entry. Consumption auto-calculated from delta vs previous reading. | Manual monthly entry |
| Pipeline pressure log | Current pipeline pressure in PSI. Logged alongside meter reading. | Manual / pressure sensor |
| Consumption trend chart | Monthly consumption trend over 12 months. Seasonal patterns highlighted. | gas_readings table |
| Per-flat billing data | Optional: flat-level meter readings for committee billing purposes. | Manual entry |
| Cost projection | Monthly cost forecast based on consumption trend × current rate. | Prediction engine |
| Vendor contact | Quick-dial gas vendor for emergency or routine top-up calls. | vendors table |

Alert rules

| Trigger condition | Alert type | Severity | Auto action |
| --- | --- | --- | --- |
| Pressure drop > 20% from baseline | Anomaly | Critical | Immediate safety alert to all committee + staff. Suggest shutoff. |
| Zero flow reading for 2+ hours during peak time | Anomaly | Warning | Notify committee — supply disruption or leak risk |
| Monthly consumption spike > 150% of average | Anomaly | Warning | Notify committee — investigate cause |

04  Sewage

Dashboard features & data entry

| Feature | Description | Data source |
| --- | --- | --- |
| STP status dashboard | Treatment plant status: normal / maintenance / fault / offline. | Manual + sensor (Phase 2) |
| Sludge tank level gauge | 0-100% fill level. Triggers desludge alert above 80%. | Manual entry / level sensor |
| Treated water tank | Treated water available for reuse (gardening, flushing). | Manual entry |
| Inflow rate tracking | Daily average inflow in LPH. Correlates with population / season. | Manual / flow meter |
| Desludge order workflow | Log desludge vendor visit. Track cost, frequency, next due date. | Manual entry |
| STP maintenance log | Service dates, fault events, repair log. | Manual entry |

Alert rules

| Trigger condition | Alert type | Severity | Auto action |
| --- | --- | --- | --- |
| Sludge tank level > 80% | Predictive | Warning | Notify committee — schedule desludge within 48h |
| Sludge tank level > 95% | Threshold | Critical | Notify committee immediately + auto-contact desludge vendor |
| STP status = fault or offline | Anomaly | Critical | Notify committee + maintenance staff immediately |
| Inflow spike > 200% of daily average | Anomaly | Warning | Notify committee — festival or water logging event |

05  Solid waste

Dashboard features & data entry

| Feature | Description | Data source |
| --- | --- | --- |
| Daily waste volume log | Dry and wet waste in kg per block per day. | Staff manual entry |
| Segregation compliance | Boolean flag per day per block. Compliance % score per block per month. | Staff manual entry |
| Block compliance leaderboard | Rank blocks by segregation compliance. Gamification for residents. | Computed from waste_logs |
| Vendor pickup log | E-waste, scrap, bulk waste vendor visits. Cost and quantity tracked. | Manual entry |
| Monthly tonnage trend | Total waste generated per month. Trend over 6 months. | Aggregated from waste_logs |
| Cost per kg tracking | Waste management cost per kg. Benchmark across months. | Computed from logs |

Alert rules

| Trigger condition | Alert type | Severity | Auto action |
| --- | --- | --- | --- |
| Block segregation compliance < 50% for 3+ days | Anomaly | Warning | Notify block representative via WhatsApp |
| Daily waste volume > 200% of weekly average | Anomaly | Warning | Notify committee — festival or event likely |
| E-waste pickup overdue by 30+ days | Predictive | Info | Remind committee to schedule e-waste collection |

06  Garbage disposal

Dashboard features & data entry

| Feature | Description | Data source |
| --- | --- | --- |
| Collection schedule | BBMP or private vendor daily schedule. Block-wise time slots. | Manual setup + BBMP API (Phase 2) |
| Collection confirmation log | Staff confirms truck arrived. Timestamp logged. | Staff mobile entry |
| Missed collection tracker | Auto-flag if no confirmation by scheduled ETA + 1 hour. | Automated check |
| Vendor performance rating | Punctuality score, miss rate per vendor. Updated on every collection. | Computed from collection log |
| Resident notification | Push notification to resident PWA when truck is en route or arrives. | MSG91 + Supabase Realtime |
| Festival overflow planning | Pre-configured spike factor for major festivals. Pre-order extra pickup. | Festival calendar + prediction |
| BBMP escalation log | Track BBMP complaints raised for missed collections. Follow-up dates. | Manual entry |

Alert rules

| Trigger condition | Alert type | Severity | Auto action |
| --- | --- | --- | --- |
| No collection confirm by ETA + 1h | Anomaly | Warning | Auto-notify staff to check + contact vendor via WhatsApp |
| 3+ missed collections in 7 days from same vendor | Anomaly | Warning | Notify committee — vendor reliability issue |
| Festival period starts in 5 days | Predictive | Info | Remind committee to pre-book extra collection capacity |
| Bin overflow reported by resident | Threshold | Warning | Notify staff immediately + log for BBMP escalation |

SECTION 05

Automation Engine

Trigger → Decision → Action → Close loop — per utility

Every utility follows the same 4-stage automation pattern. Triggers are evaluated every 15 minutes by the prediction engine Edge Function. All automated actions are logged with outcome for model retraining.

Water automation

| Trigger | Decision logic | Automated actions | Close loop |
| --- | --- | --- | --- |
| Tank sensor reading Level < 40% No supply next 48h Consumption ↑ trend | Days to critical? Preferred vendor free? Auto-order approved? Optimal quantity calc | WhatsApp vendor order Log to tanker_orders Notify committee Schedule delivery slot | Delivery confirmed Tank level updated Cost logged Prediction accuracy scored |
| Tank level < 20% CRITICAL threshold No pending order exists Budget available | Severity = critical? Skip approval? Vendor available now? Quantity needed | Auto-order IMMEDIATELY SMS + WhatsApp blast Log triggered_by=auto Set status=pending | Vendor confirms ETA Realtime dashboard update Alert resolved on delivery Model updated |

Power automation

| Trigger | Decision logic | Automated actions | Close loop |
| --- | --- | --- | --- |
| Grid failure detected Diesel < 30% Runtime spike anomaly Solar generation drop | DG needed immediately? Hours remaining? Refuel urgency score Peak hours check | DG relay start cmd Log outage_start Alert committee Compute diesel burn rate | Grid restored log DG stop cmd sent Runtime hours updated Diesel deducted from level |
| Diesel estimated < 12h CRITICAL level No refuel scheduled DG currently running | Can we last till morning? Emergency vs planned? Which vendor? Quantity needed | WhatsApp all committee Call preferred vendor Log alert severity=critical Set refuel scheduled=true | Refuel qty confirmed Diesel level updated Alert resolved Prediction accuracy scored |

Gas automation

| Trigger | Decision logic | Automated actions | Close loop |
| --- | --- | --- | --- |
| Pressure drop > 20% Zero flow 2h+ Consumption spike Monthly reading anomaly | Leak risk score calc Severity level? Isolate pipeline? Notify authority? | Safety WhatsApp alert Valve isolate cmd (Phase 2) Vendor dispatch Resident emergency notice | Pressure restored Repair confirmed Incident logged Risk model updated |

Sewage automation

| Trigger | Decision logic | Automated actions | Close loop |
| --- | --- | --- | --- |
| Sludge tank > 80% STP status = fault Inflow spike detected Overflow imminent | Hours to overflow? STP capacity left? Desludge vendor free? Emergency level? | Schedule desludge order Pump relay cmd (Phase 2) Notify committee + staff Log alert | Desludge completed Tank level reset STP status updated Incident closed |

Solid waste automation

| Trigger | Decision logic | Automated actions | Close loop |
| --- | --- | --- | --- |
| Volume spike > 200% Block non-compliance 3d+ Festival period start Bin overflow report | Extra pickup needed? Which vendor type? Block to penalise? Urgency level? | Order bulk pickup WhatsApp vendor Alert non-compliant block Notify residents | Pickup confirmed Volume logged Compliance score updated Cost recorded |

Garbage disposal automation

| Trigger | Decision logic | Automated actions | Close loop |
| --- | --- | --- | --- |
| No confirm by ETA+1h Festival in 5 days 3 misses in 7 days Resident overflow report | Overflow risk score BBMP vs private? Escalate to BBMP? Extra trip needed? | WhatsApp vendor Rebook collection Log missed_collection Notify residents | Collection confirmed Vendor rating updated BBMP ticket logged Pattern learned |

SECTION 06

Prediction Engine

Rule-based v1 ships in 30 days · ML v2 activates after 90 days of data

TIER A — RULE-BASED (SHIP DAY 1) Linear projection on 7-day rolling average. Accounts for scheduled supply, seasonal adjustment factor, and upcoming festivals. Fully explainable to RWA committee. Zero ML dependencies.

TIER B — STATISTICAL ANOMALY (SHIP DAY 1) Z-score on rolling 30-day baseline per utility per society. Flags readings > 2 standard deviations as anomalies. Runs on every reading insert via Postgres trigger.

TIER C — PROPHET TIME-SERIES (MONTH 3+) Facebook Prophet model. Seasonal decomposition: weekly pattern, monthly pattern, festival spikes, Bangalore summer peak. Trained on each society's own data. Scheduled retraining every Sunday.

TIER D — CROSS-UTILITY CORRELATION (MONTH 6+) Power outage → pump failure → water shortage cascade model. Sewage inflow spike correlated with water over-supply. Garbage overflow correlated with festival calendar + waste volume spike. Event graph model.

Water shortage prediction — rule-based v1 logic

| Variable | Source | Formula / logic |
| --- | --- | --- |
| avg_daily_consumption_kl | water_readings (last 7 days) | SUM(value WHERE reading_type=consumption) / 7 |
| total_current_kl | water_tanks (all tanks) | SUM(capacity_kl × current_level_pct / 100) |
| incoming_kl_next_48h | BWSSB schedule + tanker_orders pending | scheduled_supply + pending_deliveries |
| critical_threshold_kl | societies.water_critical_pct (default 20%) | SUM(capacity_kl) × 0.20 |
| usable_water_kl | computed | total_current_kl + incoming_kl_next_48h - critical_threshold_kl |
| days_to_critical | prediction output | usable_water_kl / avg_daily_consumption_kl |
| recommended_order_date | prediction output | today + days_to_critical - 1.5 (lead time buffer) |

Diesel runout prediction — rule-based v1 logic

| Variable | Source | Formula / logic |
| --- | --- | --- |
| diesel_level_liters | dg_units.diesel_level_liters | Current reading |
| avg_daily_runtime_hrs | power_outages (last 14 days) | SUM(duration_hrs) / 14 |
| consumption_rate_lph | dg_units.consumption_rate_lph | Society-configured (default: kVA × 0.3) |
| avg_daily_consumption_l | computed | consumption_rate_lph × avg_daily_runtime_hrs |
| grid_risk_factor | BESCOM schedule + weather API | 1.0 baseline, 1.5 if heat wave, 1.8 if scheduled maintenance |
| adjusted_daily_consumption | computed | avg_daily_consumption_l × grid_risk_factor |
| hours_to_empty | prediction output | (diesel_level_liters / adjusted_daily_consumption) × 24 |
| recommended_refuel_date | prediction output | today + days_to_empty - 2 (safety buffer) |

Prediction accuracy tracking

| Metric | How measured | Target |
| --- | --- | --- |
| Water shortage prediction accuracy | was_accurate flag set when actual event is within 20% of predicted date | > 80% after 90 days |
| Diesel runout prediction accuracy | Actual runout hours vs predicted hours — scored within 15% tolerance | > 85% after 60 days |
| False positive rate | Alerts where predicted event did not occur within 2× predicted timeframe | < 15% |
| False negative rate | Events that occurred without a prior alert being generated | < 5% (safety critical) |
| Model improvement rate | Week-on-week reduction in mean absolute error (MAE) per utility | Positive trend required |

SECTION 07

API Design

RESTful JSON · Base: /api/v1/ · Auth: Supabase JWT Bearer · All timestamps ISO-8601 UTC

Auth endpoints

| Method | Endpoint | Description | Auth required |
| --- | --- | --- | --- |
| POST | /auth/login | Email OTP or phone OTP initiation. Body: { email } or { phone } | No |
| POST | /auth/verify | Verify OTP token. Returns JWT + refresh token. Body: { token, type } | No |
| GET | /auth/me | Returns current user profile + society + role | Yes |
| POST | /auth/logout | Invalidates session. Clears refresh token. | Yes |

Water endpoints

| Method | Endpoint | Description | Role |
| --- | --- | --- | --- |
| GET | /water/dashboard | All dashboard widgets: tanks, consumption chart, prediction, active alerts | All |
| GET | /water/tanks | List all tanks with current levels. Query: ?society_id | All |
| PUT | /water/tanks/:id | Update tank level. Body: { current_level_pct, recorded_by } | Staff+ |
| GET | /water/readings | Paginated readings. Query: ?source&from&to&limit&cursor | Committee+ |
| POST | /water/readings | Add manual reading. Body: { source, reading_type, value, notes } | Staff+ |
| GET | /water/prediction | Shortage prediction output: days_to_critical, recommended_order_date, confidence | All |
| GET | /water/tankers | Tanker order history. Query: ?status&from&to | Committee+ |
| POST | /water/tankers | Place order. Body: { vendor_id, quantity_kl, scheduled_at }. Triggers WhatsApp. | Committee+ |
| PUT | /water/tankers/:id | Update status. Body: { status, delivered_at, cost } | Staff+ |

Power endpoints

| Method | Endpoint | Description | Role |
| --- | --- | --- | --- |
| GET | /power/dashboard | DG status, grid status, diesel gauge, solar today, prediction | All |
| GET | /power/dg | All DG units with diesel levels, runtime, service dates | All |
| PUT | /power/dg/:id | Update diesel level after refuel. Body: { diesel_level_liters, refuel_qty, cost } | Staff+ |
| GET | /power/readings | Power consumption readings. Query: ?source&block&from&to | Committee+ |
| POST | /power/readings | Add meter reading. Body: { source, reading_type, value_kwh, block } | Staff+ |
| POST | /power/outages | Log outage start. Body: { dg_unit_id, started_at }. Returns outage_id. | Staff+ |
| PUT | /power/outages/:id | Close outage. Body: { ended_at }. Auto-calculates duration + diesel used. | Staff+ |
| GET | /power/prediction | Diesel runout prediction: hours_remaining, recommended_refuel_date | All |

Gas, sewage, waste, garbage endpoints

| Method | Endpoint | Description | Role |
| --- | --- | --- | --- |
| GET | /gas/dashboard | Consumption trend, pressure log, cost projection | All |
| POST | /gas/readings | Monthly meter reading. Body: { meter_reading, pressure_psi } | Staff+ |
| GET | /sewage/dashboard | STP status, tank levels, inflow rate, desludge history | All |
| POST | /sewage/readings | Log STP reading. Body: { stp_status, sludge_tank_pct, treated_tank_pct, inflow_rate_lph } | Staff+ |
| GET | /waste/dashboard | Daily volumes, segregation scores, block leaderboard | All |
| POST | /waste/logs | Daily waste entry. Body: { block, dry_waste_kg, wet_waste_kg, segregation_ok } | Staff+ |
| GET | /garbage/schedule | Today + next 7 days collection schedule | All |
| POST | /garbage/collection | Confirm collection. Body: { vendor_id, collected_at, notes } | Staff+ |
| PUT | /garbage/collection/:id | Update status to missed or rescheduled | Staff+ |

Alerts, staff, and system endpoints

| Method | Endpoint | Description | Role |
| --- | --- | --- | --- |
| GET | /alerts | All active alerts sorted by severity. Query: ?utility&severity | All |
| GET | /alerts/history | All alerts including resolved. Paginated. Query: ?from&to&utility | Committee+ |
| PUT | /alerts/:id/resolve | Resolve alert. Body: { resolved_by, note } | Committee+ |
| GET | /staff | Staff directory with on-duty status | All |
| POST | /staff | Add staff member. Body: { user_id, role, shift_start, shift_end } | Admin |
| PUT | /staff/:id/attendance | Mark attendance. Body: { is_on_duty, timestamp } | Staff+ |
| GET | /tasks | Task list. Query: ?assigned_to&status&priority | All |
| POST | /tasks | Create task. Body: { title, assigned_to, priority, due_at, description } | Committee+ |
| PUT | /tasks/:id | Update task status. Body: { status, completed_at } | Staff+ |
| GET | /vendors | Vendor directory. Query: ?type&is_preferred | Committee+ |
| POST | /vendors | Add vendor. Body: { name, type, phone, whatsapp, rate_per_unit, unit } | Admin |
| GET | /reports/monthly | Monthly summary all utilities. Query: ?month&year | Committee+ |
| GET | /reports/export | Generate PDF report. Query: ?month&year. Returns base64 PDF. | Committee+ |
| GET | /predictions/:utility | Latest prediction for a utility. Returns full prediction object. | All |

SECTION 08

UI/UX Design System

Utility-first design language — clarity, data density, actionable alerts

Design tokens

| Token | Value | Usage |
| --- | --- | --- |
| Primary teal | #0F6E56 | Brand, primary CTAs, water module, positive states |
| Teal light | #E1F5EE | Water module backgrounds, success chips |
| Amber | #BA7517 | Power module, warnings, near-threshold states |
| Amber light | #FAEEDA | Power module backgrounds, warning chips |
| Red / critical | #A32D2D | Critical alerts, tank empty, diesel critical |
| Red light | #FCEBEB | Critical alert backgrounds |
| Purple | #534AB7 | Prediction engine, AI features, smart indicators |
| Purple light | #EEEDFE | Prediction card backgrounds |
| Coral | #993C1D | Sewage module |
| Pink | #993556 | Solid waste module |
| Green | #3B6D11 | Garbage module, success states |
| Blue | #185FA5 | Info states, water secondary |
| Background primary | #FFFFFF | Card and modal backgrounds |
| Background secondary | #F6F5F1 | Page background, alternate table rows |
| Text primary | #1A1A1A | All headings and primary body text |
| Text secondary | #444441 | Supporting text, labels |
| Text muted | #888780 | Placeholders, disabled states, captions |
| Border | #CCCCCC | All table and card borders (0.5px) |
| Typography display | Inter Bold | Numbers, gauges, stat cards, KPI values |
| Typography UI | Inter Regular / 400 | All body text, labels, table content |
| Font size base | 16px / 1rem | Body text baseline |
| Border radius | 8px cards / 6px inputs / 4px badges | Consistent rounding |
| Transition | max 200ms ease | All state changes — count-up, gauge fill, color shift |

Key screens

| SCREEN 01 Dashboard / Home Society health score (0-100), 2-3 active alert chips, 6 utility stat cards, quick-add reading button, recent activity feed, on-duty staff count. |  | SCREEN 02 Water overview Tank gauge grid, source breakdown donut, 7-day consumption bar chart, shortage prediction card with days counter, one-tap tanker order CTA. |
| --- | --- | --- |
| SCREEN 03 Power overview DG diesel radial gauge, grid status pill, solar kWh today, per-block consumption bar chart, outage log timeline, refuel CTA. |  | SCREEN 04 Gas overview Monthly consumption line chart, pressure gauge, cost projection card, meter reading form, vendor quick-call button. |
| SCREEN 05 Sewage overview STP status card, sludge tank gauge, treated water gauge, inflow rate sparkline, desludge log table, service due alert. |  | SCREEN 06 Solid waste Daily volume entry form, block compliance leaderboard, dry/wet split donut, monthly tonnage trend, vendor pickup log. |
| SCREEN 07 Garbage disposal Today's schedule timeline, collection confirm buttons per block, missed alerts list, vendor performance ratings, BBMP escalation log. |  | SCREEN 08 Alerts + Reports Alert feed sorted by severity with resolution workflow. Monthly report card with PDF export. Trend charts for all utilities. |

Resident PWA (read-only)

| Screen | Content | Update mechanism |
| --- | --- | --- |
| Home | Water availability status, power outage status, active alerts affecting residents | Supabase Realtime push |
| Schedule | Garbage collection schedule for their block, next 7 days | Cached, refresh daily |
| Complaints | Submit complaint form: utility, description, block, photo upload | REST API POST |
| Notices | Committee announcements, maintenance schedules, outage notices | Realtime push |

SECTION 09

Notification System

MSG91 WhatsApp-first · SMS fallback · In-app realtime · Email for reports

Notification routing logic

| Alert severity | Primary channel | Fallback | Recipient | Timing |
| --- | --- | --- | --- | --- |
| Critical | WhatsApp (MSG91) | SMS within 2 min if undelivered | All committee members + admin | Immediately |
| Warning | WhatsApp (MSG91) | SMS within 5 min if undelivered | Committee secretary + admin | Immediately |
| Info | In-app only | WhatsApp digest (daily 8am) | Committee members | Batched |
| Weekly digest | WhatsApp | Email | All committee members | Sunday 8am |
| Monthly report | Email | In-app notification | All committee members | 1st of month 9am |
| Resident alert | In-app PWA push | SMS (critical only) | All residents of affected block | Immediately |

MSG91 WhatsApp templates

| Template ID | Trigger | Message content |
| --- | --- | --- |
| tank_critical | Tank < 20% | 🚨 BlockSense CRITICAL — {society} Tank {name} at {level}%. Estimated empty in {hours}h. Auto-ordering {qty}KL from {vendor}. Delivery ETA: {eta} |
| diesel_warning | Diesel < 30%, 24h est. | ⚠️ BlockSense Warning — {society} DG diesel: {level}L remaining (~{hours}h). Recommended refuel by {date}. Preferred vendor: {vendor} — {phone} |
| diesel_critical | Diesel < 12h estimated | 🚨 BlockSense CRITICAL — {society} DG diesel CRITICAL: {hours}h remaining. Refuel immediately. Vendor: {vendor} — {phone} Current outage status: {grid_status} |
| tanker_ordered | Tanker order placed | ✅ Tanker Ordered — {society} Vendor: {vendor} Quantity: {qty} KL · Cost: ₹{cost} Scheduled: {datetime} Ordered by: {name} · Ref: #{order_id} |
| gas_pressure_drop | Gas pressure drop > 20% | 🚨 BlockSense GAS ALERT — {society} Pipeline pressure dropped from {from} to {to} PSI. Possible leak risk. Check main valve. Contact vendor: {vendor} — {phone} |
| sewage_desludge | Sludge tank > 80% | ⚠️ Sewage Alert — {society} Sludge tank at {level}%. Desludge required within 48h. Preferred vendor: {vendor} — {phone} |
| garbage_missed | Collection not confirmed | 🚫 Missed Collection — {society} Block {block} garbage collection missed. Scheduled: {time}. Vendor: {vendor}. Staff: please confirm or rebook. |
| weekly_digest | Every Sunday 8am | 📊 BlockSense Weekly — {society} Water: {water_status} · Power: {power_status} Gas: {gas_status} · Sewage: {sewage_status} {open_alerts} open alerts · {tasks_done} tasks done View full report: {link} |

SECTION 10

IoT Integration

Phase 2 hardware layer — sensors, relays, gateway, MQTT to Supabase

Sensor map — per utility

| Utility | Sensor type | Hardware | Reading | Update frequency |
| --- | --- | --- | --- | --- |
| Water tanks | Ultrasonic level sensor | JSN-SR04T (waterproof) | Distance → % level | Every 5 min |
| Water flow | Hall effect flow meter | YF-S201 | L/min inflow rate | Continuous |
| Diesel / DG | Ultrasonic level sensor | JSN-SR04T | Distance → litres | Every 5 min |
| Power / solar | Current + voltage sensor | PZEM-004T | kWh, voltage, current | Every 1 min |
| Gas pressure | Pressure sensor | MPX5700AP | PSI | Every 2 min |
| Sewage tank | Ultrasonic level sensor | JSN-SR04T | Distance → % level | Every 10 min |
| Waste bins | Ultrasonic fill sensor | HC-SR04 | Fill level % | Every 30 min |
| DG running state | Current clamp | SCT-013-030 | ON / OFF detection | Continuous |

Hardware architecture

| Component | Hardware | Role |
| --- | --- | --- |
| Microcontroller | ESP32 (38-pin) | WiFi-enabled MCU. Reads sensors via GPIO/I2C/UART. Publishes to MQTT. |
| IoT Gateway | Raspberry Pi 4 (per society) | Local MQTT broker (Mosquitto). Aggregates all ESP32 nodes. Forwards to Supabase. |
| Relay module | 4-channel 5V relay board | Triggered by Supabase Edge Function. Controls: DG start, pump on/off, valve open/close. |
| Power supply | 5V 3A SMPS + 12V for sensors | Powers ESP32 nodes. UPS-backed for gateway to survive grid failures. |
| Communication | MQTT over WiFi (TLS) | ESP32 → Raspberry Pi → Supabase Realtime. All messages retained with QoS=1. |
| OTA updates | ESP32 OTA (Arduino framework) | Firmware updates pushed remotely. No on-site maintenance for software changes. |

Data pipeline: sensor to dashboard

| Step | Component | Detail |
| --- | --- | --- |
| 1 | ESP32 reads sensor | ADC or I2C read every N seconds. Value converted to engineering unit (%, kl, PSI, kWh). |
| 2 | ESP32 publishes to MQTT | Topic: blocksense/{society_id}/{utility}/{sensor_id}. Payload: { value, unit, ts } |
| 3 | Raspberry Pi receives + validates | Mosquitto broker receives message. Pi validates range, deduplicates, buffers locally. |
| 4 | Pi forwards to Supabase | HTTP POST to /api/v1/{utility}/readings. Authenticated via service role key stored in Pi keychain. |
| 5 | Supabase stores reading | Inserted to appropriate table. RLS enforced. Realtime broadcast fires automatically. |
| 6 | Dashboard updates | Browser receives Supabase Realtime event. React state updates. Gauge animates to new value. |
| 7 | Prediction engine evaluates | Edge Function cron checks latest readings against thresholds. Alert generated if needed. |
| 8 | Relay command (if needed) | Edge Function sends command to Pi via Supabase Realtime channel. Pi triggers relay GPIO. |

SECTION 11

30-Day Development Roadmap

One deployable milestone at end of every week — ship on day 30

Rule: every day ends with a commit. Every Friday ends with a working demo. No half-built features merged.

Week 1 — Foundation

| Day | Task | Definition of done |
| --- | --- | --- |
| 1 | npx create-next-app@latest blocksense --typescript --tailwind --app. Install shadcn/ui, configure path aliases, set up ESLint + Prettier. | npm run dev starts without error. shadcn Button renders. |
| 2 | Create Supabase project. Run all 16 table migrations. Enable RLS on all tables. Create seed data: 1 society, 3 users (admin, committee, staff), 2 tanks, 1 DG. | Supabase dashboard shows all tables. Seed data visible. |
| 3 | Implement Supabase Auth: email OTP login flow. Role-based middleware protecting /dashboard/* routes. Redirect unauthenticated users to /login. | Login with test email works. Dashboard redirects back to login when logged out. |
| 4 | Build app shell: sidebar navigation (all 6 utilities + staff + alerts + reports + settings), header with society name + alert bell, mobile hamburger. | All navigation links render. Mobile view works. |
| 5 | Dashboard layout: 6 utility stat cards (placeholder data), active alerts panel (empty state), recent activity feed, Supabase Realtime connection. | Dashboard renders with placeholder. Realtime connection live in browser console. |
| 6–7 | Settings pages: society profile, user invite flow, vendor directory (CRUD), alert thresholds config. TypeScript interfaces for all DB tables. | Admin can add a vendor. Thresholds can be edited and saved. |

Week 2 — Water + Power modules

| Day | Task | Definition of done |
| --- | --- | --- |
| 8 | Water: tank level gauge component (Recharts radial bar). TankCard with % + KL display. Colour-coded states: green/amber/red. Supabase Realtime subscription. | Tank gauge updates live when value changes in Supabase. |
| 9 | Water: manual reading entry form (React Hook Form + Zod). Cauvery supply log. Water source breakdown donut chart. 7-day consumption bar chart. | Committee can log a reading. Chart updates immediately. |
| 10 | Water: shortage prediction v1 (rule-based). Prediction card component with days counter. Tanker order form + vendor selection dropdown. tanker_orders CRUD. | Prediction shows days to critical. Tanker order saves to DB. |
| 11 | Water: MSG91 WhatsApp integration. tank_critical and tanker_ordered templates. Alert engine threshold check for water. First end-to-end alert test. | WhatsApp message received on test number when tank < 20%. |
| 12 | Power: DG status dashboard. Diesel radial gauge. Grid outage logger (start/end with auto-duration calc). DG runtime accumulator. DG refuel log. | Outage logged. Duration and diesel used auto-calculated. |
| 13 | Power: solar generation tracker. Per-block consumption bar chart. Power prediction v1 (diesel runout hours). Refuel alert engine + WhatsApp template. | Diesel runout prediction renders. WhatsApp fires when < 12h. |
| 14 | Integration day: cross-utility dashboard data aggregation. Supabase Realtime across all active subscriptions. Fix all Week 2 bugs. Deploy to Vercel. | Live Vercel URL works. Committee can log water + power readings. |

Week 3 — Remaining utilities + Alerts + Staff

| Day | Task | Definition of done |
| --- | --- | --- |
| 15 | Gas module: monthly meter reading form, pressure log, consumption delta calculation, 12-month trend chart, cost projection, pressure drop alert. | Gas reading saved. Trend chart renders correctly. |
| 16 | Sewage module: STP status selector, sludge tank gauge, treated water gauge, desludge order workflow, STP fault alert + WhatsApp. | Sewage reading saved. Desludge alert fires when > 80%. |
| 17 | Solid waste module: daily waste entry (dry/wet/block), segregation compliance toggle, block leaderboard, monthly tonnage chart. | Waste log saved. Leaderboard ranks blocks correctly. |
| 18 | Garbage module: schedule setup wizard, collection confirm button, missed collection auto-detection (cron), vendor performance score, resident notify. | Missed collection detected and flagged after 1h past ETA. |
| 19 | Alert centre: alert feed with severity badges (critical/warning/info), resolution workflow (mark resolved + note), alert history with filters. | Committee can resolve an alert. History shows all past alerts. |
| 20 | Staff module: directory (photo, role, shift, phone), attendance marking, task creation + assignment, on-duty status board. | Staff marked on-duty. Task assigned to staff member. |
| 21 | Automation triggers: water auto-order (triggered_by=auto), power DG relay flag, garbage rebook. Prediction cron runs every 15 min via Edge Function. | Auto-order fires without human input when tank < 20%. |

Week 4 — Polish + Resident PWA + First Society

| Day | Task | Definition of done |
| --- | --- | --- |
| 22 | Resident PWA: simplified view (water status, power outage, active alerts), PWA manifest + service worker, install-to-homescreen flow, offline fallback. | PWA installs on Android. Works offline with cached data. |
| 23 | Reports: monthly summary page (all 6 utilities), consumption vs previous month, cost breakdown, incident count. jsPDF export. | PDF report generates and downloads correctly. |
| 24 | Onboarding wizard: 5-step setup (society details → tanks → DG → vendors → users). CSV importer for historical water + power readings. | New society can self-onboard in under 10 minutes. |
| 25 | Performance audit: Lighthouse score > 85, API response time < 200ms for dashboard, Supabase query optimisation (add indexes), image optimisation. | Lighthouse score > 85. Dashboard loads < 1.5s on 4G. |
| 26 | Security hardening: verify all RLS policies, API input validation (Zod on all POST bodies), rate limiting on auth routes, env vars audit. | No cross-society data returned in any test query. |
| 27 | End-to-end testing: water shortage flow, diesel runout flow, garbage missed collection, WhatsApp delivery confirmation, PDF report generation. | All 5 critical flows work without manual intervention. |
| 28 | Bug fixes and polish from testing. Help tooltips on all key screens. Empty state illustrations. Loading skeletons for all data-fetching components. | No P0 bugs. App feels polished on mobile. |
| 29 | Prepare demo: seed realistic 3-month historical data for demo society. Rehearse onboarding flow. Prepare committee pitch (5 slides max). | Demo environment ready. Onboarding takes < 8 minutes. |
| 30 | Demo day: onboard first real RWA committee. Walk through all 6 utilities. Collect structured feedback (10 questions). Set Week 5 priorities. | First real society live on BlockSense. Feedback documented. |

SECTION 12

Phase 2 & 3 Roadmap

Intelligence → Scale → Platform

Phase 2 — Intelligence (Month 2–4)

| Feature | Tech / approach | Unlock condition |
| --- | --- | --- |
| ML prediction engine (Prophet) | Python microservice on Supabase Edge Functions. Weekly retraining. 90-day data minimum. | Society has 90+ days of daily readings |
| IoT sensor integration | ESP32 nodes + Raspberry Pi gateway + MQTT + Supabase Realtime. Auto-updates tank/diesel levels. | Committee approves hardware installation |
| DG auto-start relay | 4-channel relay board controlled by Pi GPIO. Supabase Edge Function sends command. | IoT gateway installed and tested |
| Cross-utility correlation model | Event graph: power outage → pump failure → water shortage. Trained on 6+ months of event data. | Minimum 6 months of event history |
| Weather API enrichment | OpenWeatherMap 7-day forecast integrated into prediction enrichment layer. | Phase 1 complete |
| Anomaly detection (Z-score) | Postgres trigger on every insert. Flags readings > 2 standard deviations from 30-day rolling baseline. | Phase 1 complete |
| Fund management module | Maintenance charge collection log, society bank balance, monthly expense tracker, vendor payment log. | Phase 1 complete + committee request |
| Visitor management integration | Integration with existing visitor management apps (MyGate, Tata Cleo) via webhook. | API docs from partner |

Phase 3 — Scale (Month 5–12)

| Feature | Tech / approach | Revenue impact |
| --- | --- | --- |
| Multi-society management | Organisation layer above societies. Developer / property manager view across their portfolio. | Enterprise tier unlock |
| React Native mobile app | Shared codebase for iOS + Android. Committee + resident apps. Push notifications via Expo. | Resident adoption ↑ |
| Vendor marketplace | Verified tanker, diesel, waste vendors on-platform. Commission on orders placed through BlockSense. | New revenue stream |
| Society benchmarking | Compare your society consumption vs similar-sized societies anonymously. Gamified efficiency score. | Retention feature |
| BlockSense API (public) | REST API for third-party integrations. Smart home apps, property management software. | Developer ecosystem |
| Smart meter integration | Modbus RTU/TCP protocol support for industrial smart meters. Auto-readings without manual entry. | Pro tier unlock |
| BWSSB/BESCOM API integration | Official data feeds replacing scraping. Officially licensed data partnership. | Data quality ↑ |
| Expand to new cities | Chennai, Hyderabad, Pune. Each city: local vendor partnerships, civic API integrations. | Revenue 3× per city |

Subscription tiers

| Tier | Monthly price | Included | Target customer |
| --- | --- | --- | --- |
| Basic | ₹999/month | 6 utilities, WhatsApp alerts, 1 society, 5 committee users, manual entry only, monthly reports | Small societies (<100 flats) |
| Pro | ₹2,499/month | Everything in Basic + ML predictions, IoT sensor support, PDF reports, unlimited users, API access (read-only) | Mid-size societies (100-500 flats) |
| Enterprise | ₹7,999/month | Everything in Pro + multi-society, developer portfolio view, public API, custom integrations, SLA, dedicated support | Large townships, developers |

The single most important decision: ship the dashboard, talk to 1 RWA committee before building anything else. Everything after that is a response to what they tell you.

BlockSense — Full Technical Blueprint  ·  v2.0  ·  Confidential